## START HERE
Instructions
All new manholes, valves, fittings, cleanouts, top of pipe GPS points, services, pipe casings, meters, as well as utility crossings and any other notable features* (i.e., grease traps) shall have records created within this spreadsheet. There is a tab provided for each equipment type. All field are to be populated by the Resident Project Representative. Please reach out to your ILAWC Project Manager with any questions. If needed, definitions and/or field instructions are listed below. * For "other notable features", complete a record within the Additional Data tab.
Project Information
Project Name:
District:
Resident Project Representative (RPR) Name:
ILAWC Project Manager Name:
RPR Field Definitions/Special Instructions
Common to all equipment
Cells With Green Fill | Fields to be filled out by Contractor or field personnel
Cells With Gray Fill | Fields to be filled out by Illinois American Water personnel ONLY
Plan_or_FieldID | The temporary IDs MUST BE unique within the given project and coorespond to the temporary IDs assigned to their respective GPS shots and indicated in any provided project plan sets.
Date In service | Date the project is placed in service.
Manufacturer | Equipment manufacturer. For most equipment, this field has a pick list of preapproved values. If a pick list is present and the manufacturer is not listed, please indicate the correct manufacturer using the Comments field located at the end. If a pick list IS NOT present, simply type in the name of the manufacturer within the Manufacturer field.
Street Address (House number if known) | Street name where equipment is installed. If located in front of/close to a residence, please indicate house number.
Cross_Street | This field is to be used to record the nearest intersecting street.
Manhole Fields
Manhole Type | This field has a pick list of preapproved values. If the value you need isn’t listed, please indicate correct value in the Comments field.
Manhole Diameter (Inches) | This is the interior diameter of the manhole, not the cone or cover.
Manhole Material | This field has a pick list of preapproved values. If the value you need isn’t listed, please indicate correct value in the Comments field.
Manhole_Location_Dimensions | A rough measure of the manhole location from existing features on the service.
Lid/Cover Type | This field has a pick list of preapproved values. If the value you need isn’t listed, please indicate correct value in the Comments field.
Is Epoxy Coated | This field has a Yes/No pick list.
Lined | This field has a Yes/No pick list. This is for factory lined prior to construction.
Has Steps? | This field has a Yes/No pick list.
Rim Elevation | Please provide a numeric value, in feet, to the hundredth decimal place (i.e., 792.25 feet)
Manhole Depth | Please provide a numeric value, in feet, to the hundredth decimal place (i.e., 8.74 feet)
Sump Elevation | Please provide a numeric value, in feet, to the hundredth decimal place (i.e., 770.25 feet)
Ellfuent_Invert_Depth | Please provide a numeric value, in feet, to the hundredth decimal place (i.e., 8.74 feet) from the rim to the invert flow line.
Drop Type | This field has a pick list of preapproved values. If the value you need isn’t listed, please indicate correct value in the Comments field.
Is Doghouse Opening | This field has a Yes/No pick list.
Valve Fields
Valve Size | Provide the size of the valve in inches.
Valve Type | This field has a pick list of preapproved values. If the valve type is not listed, please indicate the correct type using the Comments field located at the end.
Application Type | This field has a pick list of preapproved values. If the valve application type is not listed, please indicate the correct type using the Comments field located at the end.
Cover Elevation | Please provide a numeric value, in feet, to the hundredth decimal place (i.e., 792.25 feet)
Open Direction | Direction you turn the valve to open it. This field has a pick list of preapproved values.
Number of Turns | Number of turns needed to open the valve. Provide a numeric value only.
Valve Measure | Two dimensions from known landmarks. Within this field, there should be a North/South dimension and an East/West dimension. Please be sure to note unit of measure used. This information will be used by field crews to locate a given valve when GPS equipment is not available and/or environment conditions hinder locating (i.e., leaves, snow).
Fitting Fields
Fitting Type | This field has a pick list of preapproved values. If the fitting type is not listed, please indicate the correct type using the Comments field located at the end.
Material | Material of main on which the fitting is installed. This field has a pick list of preapproved values. If the main material is not listed, please indicate the correct main material using the Comments field located at the end.
Bend Angle | This field has a pick list of preapproved values. If the appropriate joint type is not listed, please indicate it using the Comments field located at the end.
Vertical Bend | This field has a Yes/No pick list.
Top of Fitting Elevation | Please provide a numeric value, in feet, to the hundredth decimal place (i.e., 792.25 feet)
Cleanout Fields
Line Type | This field has a pick list of preapproved values. If the value you need isn’t listed, please indicate correct value in the Comments field.
Fitting Type | This field has a pick list of preapproved values. If the value you need isn’t listed, please indicate correct value in the Comments field.
Opening Diameter inches | Provide the size of the cleanout opening in inches.
Cover Elevation | Please provide a numeric value, in feet, to the hundredth decimal place (i.e., 792.25 feet)
Is Doghouse Opening | This field has a Yes/No pick list.
Main Fields
Point Type | GPS Point. This field has a pick list of preapproved values. If the value you need isn’t listed, please indicate correct value in the Comments field.
Pipe Diameter | Provide the diameter of the pipe in inches.
Pipe Material | This field has a pick list of preapproved values. If the value you need isn’t listed, please indicate correct value in the Comments field.
Pipe Type | This field has a pick list of preapproved values. If the value you need isn’t listed, please indicate correct value in the Comments field.
Upstream and Downstream Structure ID | Please enter the Plan, Field or Point ID associated with the upstream and downstream structures
Upstream Flowline Elevation | Elevation of the main flowline at the structure. Please provide a numeric value, in feet, to the hundredth decimal place (i.e., 792.25 feet)
Downstream Flowline Elevation | Elevation of the main flowline prior to a drop. Please provide a numeric value, in feet, to the hundredth decimal place (i.e., 792.25 feet)
Line Locator (Tracer Wire) | This field has a Yes/No pick list.
Services Fields
Point Type | This field has a pick list of preapproved values. If the value you need isn’t listed, please indicate correct value in the Comments field.
Pipe Diameter | Provide the diameter of the service pipe in inches.
Material | Provide the pipe material in inches. This field has a pick list of preapproved values. If the value you need isn’t listed, please indicate correct value in the Comments field.
Pipe Type | This field has a pick list of preapproved values. If the value you need isn’t listed, please indicate correct value in the Comments field.
Upstream and Downstream Structure ID | Please enter the Plan, Field or Point ID associated with the upstream and downstream structures
Upstream and Downstream Flowline Elevation | Please provide a numeric value, in feet, to the hundredth decimal place (i.e., 792.25 feet)
Lateral Type | This field has a pick list of preapproved values. If the value you need isn’t listed, please indicate correct value in the Comments field.
Line Locator | This field has a Yes/No pick list.
Casing Fields
Encasement Diameter | Provide the diameter of the casing pipe in inches.
Encasement Material | This field has a pick list of preapproved values. If the value you need isn’t listed, please indicate correct value in the Comments field.
Encasement Thickness (Pipe Wall) | Provide the thickness of the casing pipe wall in inches.
Meters Fields
Application Meter | This field has a pick list of preapproved values. If the value you need isn’t listed, please indicate correct value in the Comments field.
Diameter | Provide the diameter of the meter in inches.
Interconnect | This field has a Yes/No pick list. The meter is located at another system connection point.
Cover Elevation | Please provide a numeric value, in feet, to the hundredth decimal place (i.e., 792.25 feet)
Utility Crossing Point Fields
Utility Type Crossed | This field has a pick list of preapproved values. If the value you need isn’t listed, please indicate correct value in the Comments field.
Diameter in inches | Provide the diameter of the other utility pipe or conduit in inches if applicable.
Material | Provide the material of the other utility pipe or conduit.
Separation in feet | Provide a numeric value of the distance between the Illinois American pipe and the other utility in feet.
Owner Name | Provide the name of the other utility
Elevation | Please provide a numeric value, in feet, to the hundredth decimal place (i.e., 792.25 feet) of the top of the Illinois American Water pipe at the point of crossing.
Additional Data Fields
Feature Description | Description of feature captured (i.e., Vault, Sample Station)

## MANHOLES
Manholes
Example Values
MH1 | 1001 | 1986-06-14 | 109 Ashlyn Dr | Sunset Ct | Fisher | Standard | 48 | Concrete | 5 ft west of utility pole and 2 ft south of curb. | Concealed with Gasket | No | Yes | 525.63 | 8.3 | 517.53 | 8.1 | None | No |  | No | MFR-306 | Yes |  | Sanitary Water
Plan_or_FieldID | GPS_Point_ID | Date_In_Service | Street_Address | Cross_Street | City | Manhole_Type | Manhole_Diameter_Inches | Manhole_Material | Manhole_Location_Dimensions | Lid_Cover_Type | Is_Epoxy_Coated | Has_Steps | Rim_Elevation | Manhole_Depth | Sump Elevation | Ellfuent_Invert_Depth | Drop_Type | Is_Doghouse_Opening | Comments | Lined | ILAW_Manhole_Number | ILAW_Owned | Other_Owner | Wastewater_Type | Installation_WBS | Installation_WO | MapCall ID | SAPID

## VALVES
Sanitary Valves
Example Values
V1 | 1002 | 2020-07-12 | Gate | MUELLER | 109 Ashlyn Dr | Sunset Ct | Fisher | 12 | MAIN | 612.12 | Left | 39.5 | 2.5' N. of Curb & 40' E. of CL Driveway |  |  |  | Yes |  | Sanitary Water | OPEN | OPEN
Plan_or_FieldID | GPS_Point_ID | Date_In_Service | Valve_Type | Manufacturer | Street_Address | Cross_Street | City | Valve_Size | Application_Type | Cover_Elevation | Open_Direction | Number_of_Turns | Valve_Measure | Comments | Additional_Comments | ILAW Valve Number | Company_Owned | Other_Owner | Wastewater_Type | Normal_Position | Current_Position | Installation_WBS | Installation_WO | MapCallID | SAPID

## FITTINGS
Fittings
Example Values
F1 | 1003 | 2020-06-05 | Bend | Ductile Iron | 22.5 | No | 580.65 |  | Yes |  | Sanitary Water
Plan_or_FieldID | GPS_Point_ID | Date_in_Service | Fitting_Type | Material | Bend_Angle | Vertical_Bend | TopOfFitting_Elevation | Comments | Company_Owned | Other_Owner | Wastewater_Type | Installation_WBS | Installation_WO

## CLEANOUTS
Cleanouts
Example Values
CO1 | 1005 | 2020-07-12 | 109 Ashlyn Dr | Sunset Ct | Fisher | MainLine | Wye | 8 |  | No |  | MFR-306 | Yes |  | Sanitary Water
Plan_or_FieldID | GPS_Point_ID | Date_In_Service | Street_Address | Cross_Street | City | Line_Type | Fitting_Type | Opening_Diameter_Inches | Cover_Elevation | Is_Doghouse_Opening | Comments | ILAW_Opening_Number | ILAW_Owned | Other_Owner | Wastewater_Type | Installation_WBS | Installation_WO | SAPID

## MAIN
Gravity Main
Example Values
MAIN1 | 1012 | 2020-07-12 | Pothole | 12 | Polyvinyl Chloride | WW Gravity | MH1 | 567.75 | MH2 | 667.15 | Yes |  | No |  | Collector | No | XYZ Sewer Company | Sanitary Water | XYZ Sewer Company
Plan_or_FieldID | GPS_Point_ID | Date_In_Service | Point_Type | Pipe_Diameter | Pipe_Material | Pipe_Type | Upstream_StructureID | Upstream_Invert_Elevation | Downstream_StructureID | Downstream_Invert_Elevation | Line_Locator | Comments | Lined | StructureID | Gravity_Main_Type | ILAW_Owned | Other_Owner | Wastewater_Type | Receiving Company | Installation_WBS | Installation_WO | SAPID

## SERVICES
Services
Example Values
MAIN1 | 1012 | 2020-07-12 | Pothole | 1 | Copper | WW Gravity | 109 Ashlyn Dr | Sunset Ct | Fisher | Curbstop | 567.75 | MH2 | 667.15 | Gravity | Yes |  |  |  | No | XYZ Sewer Company
Plan_or_FieldID | GPS_Point_ID | Date_In_Service | Point_Type | Pipe_Diameter | Material | Pipe_Type | Street_Address | Cross_Street | City | Upstream_StructureID | Upstream_Flowline_Elevation | Downstream_StructureID | Downstream_Flowline_Elevation | Lateral_Type | Line_Locator | Comments | ServiceID | PremiseID | ILAW_Owned | Other_Owner | Installation_WBS | Installation_WO | Lining_WBS

## CASING
Casing Pipe
Example Values
| 1020 | 2020-07-12 | 12 | Ductile Iron |  |  | Yes |  | Sanitary Water
Plan_or_FieldID | GPS_Point_ID | Date_In_Service | Encasement_Diameter | Encasement_Material | Encasement_Thickness | Comments | Company_Owned | Other_Owner | Wastewater_Type | Installation_WBS | Installation_WO

## METERS
Sanitary Meters
Example Values
| 1020 | 2020-07-12 |  |  |  |  | MFR-306 |  | Yes |  | Sanitary Water
Plan_or_FieldID | GPS_Point_ID | Date_In_Service | Application_Meter | Diameter | Interconnect | Cover_Elevation | ILAW_MeterID | PremiseID | ILAW_Owned | Other_Owner | Wastewater_Type | Installation_WBS | Installation_WO | SAPID

## UTILITY CROSSING POINTS
Utility Crossing Point
Example Values
| 1101 | Fiber Optic | 2 | Aluminum | 109 Ashlyn Dr | Sunset Ct | Fisher | 4.25 | AT&T | 567.88
Plan_or_FieldID | GPS_Point_ID | Utility_Type_Crossed | Diameter_inches | Material | Street_Address | Cross_Street | City | Separation_in_Feet | Owner_Name | Elevation | Comments

## ADDITIONAL INFORMATION
Additional Data
Example Values
| 1212 | 2020-07-12
Plan_or_FieldID | GPS_Point_ID | Date_In_Service | Feature_Description | Comments

## Lists (hidden)
Yes/No | Manhole_Type |  | Wastewater_Type |  |  | Material_of_Construction |  | Lid_Cover_Type |  | Drop_Type |  | Updated 03/18/2021 |  |  | Lining_Material
Yes | Standard |  | Sanitary Water |  |  | CONCRETE |  | Open Pick Hole |  | None |  |  |  |  | Centrifugally Cast Fiberglass Reinforced Polymer Mortar
No | Inspection |  | Treated Water |  |  | PVC |  | Concealed with Gasket |  | Outside |  |  |  |  | Cement Mortar Lining
Unknown | Inverted |  | Combined Water |  |  | BRICK |  | Concealed without Gasket |  | Inside |  |  |  |  | Double-dipped
| Lamphole |  | Reclaimed Water |  |  | BLOCK |  | Inflow Preventer Insert |  | Both |  |  |  |  | Ethylene Chlorotrifluoroethylene
| Summit |  | Storm Runoff |  |  | HDPE |  | Bolt Down | [6 empty] | Ethylene Propylene Diene Monomer
[8 empty] | Other | [6 empty] | Epoxy Spray Lining
Fusible PVC
Valve_Type |  | Manufacturer |  |  | Application_Type |  | Open_Direction |  | Normal_Position | Line_Type |  | Fitting_Type |  | Fitting_Material | Glass Fiber
BALL |  | ALLIS CHALMERS |  |  |  |  | Right |  | OPEN | Mainline |  | Wye |  | Acrylonitrile-Butadiene-Stryrene | Glass Reinforced Plastic
BUTTERFLY |  | AMERICAN AVK |  |  | BACK FLOW PREVENTION |  | Left |  | CLOSED | Lateral Service |  | Bend |  | Asbestos Cement | High Density Polyethylene
CHECK VALVE |  | AMERICAN CAST IRON |  |  | BY-PASS | [6 empty] | Cap |  | Brass | Other
GATE |  | AMERICAN FLOW CONTROL |  |  | CONTROL VALVE | [6 empty] | Coupling |  | Cast Iron Lined | Polyethylene
PRESSURE REGULATING |  | AP SMITH |  |  | CROSSOVER | [6 empty] | Plug |  | Cast Iron Unlined | Polypropylene
STUB |  | CLA-VAL |  |  | INSERTION |  | Lining_Method |  |  |  |  | Increaser |  | Copper | Polyester Reinforced Polyethylene
TAPPING |  | CLOW |  |  | LATERAL |  | Slip Lining |  |  |  |  | Sleeve |  | Ductile Iron Cement Lined | Polyvinyl Chloride
TELESCOPIC |  | CRANE |  |  | MAIN |  | Spiral Winding |  |  |  |  | TapCorp |  | Galvanized | Polyvinylidene Fluoride
ANGLE |  | DARLING |  |  | PLANT DISCHARGE |  | Cured-in-Place |  |  |  |  | Tapping Sleeve |  | High Density Polyethylene | Unknown
PRESSURE RELIEF |  | DEZURIK |  |  | STUB |  | Close-fit Lining |  |  |  |  | Tee |  | Lead
AIR RELEASE |  | DRESSER |  |  | TRANSMISSION |  | Grout-in-Place |  |  |  |  | PipeIO |  | Other
ALTITUDE |  | EDDY |  |  |  |  | Glass Fiber Reinforced Plastic Segmental | [6 empty] | Polyethylene
DOUBLE CHECK |  | FORD |  |  |  |  | Gunite Shotcrete Concrete | [6 empty] | Reinforced Concrete Pipe
GLOBE |  | GOLDEN ANDERSON |  |  |  |  | Sprayed Polymer | [6 empty] | Steel
|  | HYDRA-STOP |  |  |  |  | Flood Grouting | [6 empty] | Unknown
|  | IOWA |  |  |  |  | Trenchless Pipe Replacement | [6 empty] | Wrought Iron
|  | KENNEDY |  |  |  |  | Other | [6 empty] | Bituminized Pipe
|  | KUPFERLE | [11 empty] | Prestressed Concrete Cylindrical Pipe
|  | LUDLOW | [11 empty] | Polyvinyl Chloride
|  | M & H | [11 empty] | Vitreous Clay Pipe
MCDONALD
MCWANE
MICHIGAN
MUELLER
NELSON
PRATT
PRATT-CADY
RENSSELAER
RN WOOD
TEAM
TRUFLO
US PIPE
VAL-MATIC
WATEROUS
WESTCOTT
WEXFORD
Bend_Angle | Cleanout Fitting Type |  |  | Point_Type |  | Pipe_Material |  |  | Pipe_Type |  | Lateral_Type |  | Gravity_Main_Type
11.25 | Wye |  |  | Pothole |  | Acrylonitrile-Butadiene-Stryrene |  |  |  |  | Gravity |  | Collector
22.5 | Tee |  |  | Clamp |  | Asbestos Cement |  |  | WW Gravity |  | Force |  | Interceptor
45 |  |  |  | Bell |  | Brass |  |  | WW Force |  |  |  | Outfall
90 |  |  |  | Anno |  | Cast Iron Lined |  |  | Service Line - Company |  |  |  | Inverted Siphon
[6 empty] | Cast Iron Unlined |  |  | Service Line - Customer
Copper
Ductile Iron Cement Lined
Galvanized
High Density Polyethylene
Lead
Other
Polyethylene
Reinforced Concrete Pipe
Steel
Unknown
Wrought Iron
Bituminized Pipe
Prestressed Concrete Cylindrical Pipe
Polyvinyl Chloride
Vitreous Clay Pipe
Brick
Cobble Stone
Stone
Application_Meter |  | Utility_Type_Crossed
Revenue |  | Sanitary Sewer
System Monitoring |  | Storm Sewer
Water
Telephone
Fiber Optic
Other Telecommunication
Electric
Gas
Steam
Other
Unknown